## Sheet1
2014-09-16
As follow-up to the 9/16/14 Chancellor's Cabinet meeting, below is the 2014-15 Deferred Maintenance Needs list for your College.
Dr. Ikharo is asking the College Presidents to please review this list and prioritize the items by order of importance (1,2,3 etc.). There is also a section for your comments.
Rosemary will contact your office to schedule a meeting next week to discuss this list. Feel free to contact Dr. Ikharo if you have any questions.
Laney College
College PRIORITY # 1,2, 3 etc. | DGS Priority | Bldg | Area | Concern | Priority #1 | Priority #2 | Priority #3 | Other | COLLEGE COMMENTS
| 1 | Bldg B | Leak | Roof leaks | 4500
| 1 | Child Care | HVAC | Replace two roof top package units | 25000
| 1 | Child Care | HVAC | Relocate thermostats off of exterior walls | 650
| 1 | Child Care | HVAC | Replace restroom exhaust fans | 3500
| 1 | F Bldg | HVAC | Replace air handler motor in ceiling | 4300
| 1 | Fieldhouse | Doors | Field House doors (front door and interior gym) replacement, center mullion, door closure | 13000
| 1 | Fieldhouse | Doors | Upgrade entrance and weight room doors | 15000
| 1 | Campus | Plumbing | Repair eye wash stations (pool, Building A, ….) | 6500
| 1 | Pool | HVAC | Replace all pool heaters | 350000
| 1 | Pool | Chem | Replace chlorine generator | 45000
| 1 | Pool | Covers | Replace pool covers | 30000
| 1 | Theater | HVAC | VFD replacement for 3 air handlers | 14500
| 1 | E | HVAC | Failed VFD for the Central Plant cooling tower | 8500
| 1 | Tower | Elevator | Remove graffiti | 4500
| 1 | Forum | Roof | Replace roof | 540000
| 1 | All | Plumbing | Replace above ground sewer pipes - Phase I | 150000
| 1 | Child Care | HVAC | Kitchen needs conditioned make up air | 45000
| 1 | Fieldhouse | Security | Front desk buzzer is not working | 1400
| 1 | Theater |  | Additional funds to complete the stage renovation | 100000
| 1 | G | HVAC | VFD replacement | 5500
| 1 | Library | HVAC | VFD replacement | 15000
| 1 | E | HVAC | VFD replacement for cooling towers | 8500
| 1 | Bldg E | Chiller | Replace one chiller barrel (thin walls) | 25000
| 2 | Tennis | Elect. | Repair tennis court lights x2, 20 to 30 amp breaker, christy box, power to one light after camera stole circuit, momentary switch, theft |  | 7500
| 2 | Campus | Elect. | Replace old electrical distribution panels |  | 180000
| 2 | Theater | Equip | New theater man lift (repair or replace) |  | 14000
| 2 | A | Plumbing | Repair floor drain for photo lab |  | 4500
| 2 | Track | Lights | Repair night lights after wire theft (walkways, batting cage, press box) |  | 4500
| 2 | Child Care | HVAC | Replace HVAC roof package units (mfg 1999) |  | 185000
| 2 | E | HVAC | Boiler central plant master controller |  | 3500
| 2 | A | HVAC | Negative pressure |  | 150000
| 2 | Tower | Health | Replace Health center carpet |  | 12000
| 2 | Tower |  | Repair concrete step, and bottom edge of building |  | 6500
| 2 |  | HVAC | Annual PM and repairs on boilers |  | 12000
| 2 |  | Delta | Coaxial to Cat-6 Upgrades |  | 3500
| 2 |  | Floor | New floor for cadaver boxes |  | 12000
| 2 | Student Center |  | new ranges/ovens |  | 36000
| 2 | Student Center |  | hoods, ansal fire repressant system and sinks |  | 54000
| 2 | G Bldg | Doors | Replace doors leading to elevator equipment room |  | 800
| 2 | Athletics |  | Field House meeting room needs window blinds |  | 6500
| 2 | Tower | Elev | Replace elevators |  | 350000
| 3 | Pool | Plumbing | Change out water meter for the pool make up water |  |  | 800
| 3 | Student Services | Appliance | Replace food warmers |  |  | 16000
| 3 | Child Care | HVAC | Add exhaust to janitors closet |  |  | 2200
| 3 | Child Care | HVAC | Increase tonnage (now 22.5 and needs to be 27 tons) |  |  | 20000
| 3 | Child Care | HVAC | Relocate supply & return vents in ceiling for better temp control |  |  | 7500
| 3 | E | Kitchen | Replace walk-in cooler |  |  | 35000
| 3 | F Bldg | Safety | Replace air handler cat walk on roof |  |  | 6000
| 3 | Grounds | Carpenter | Repair hand rails around campus |  |  | 4500
| 3 | Pool | Plumbing | Install larger sump pump in pool pump pit |  |  | 4500
| 3 | Tower | Lights | Light controls for the Tower lights |  |  | 3500
| 3 |  | Welding | Repair floor drain in the Welding shop |  |  | 1700
| 3 | Athletics |  | Protective mat for track (football) and turf (graduation) area |  |  | 14000
| 3 | Campus |  | Switch over to Schlage key system from BEST |  |  | 250000
| 3 | Student Services | HVAC | Replace kitchen exhaust hood |  |  | 15000
| 3 | Theater |  | Upgrade theater stage lighting controls |  |  | 125000
| 3 | E | HVAC | Replace chiller |  |  | 250000
| 4 | Grounds |  | Repair sidewalk, and sidewalk lights along the canal |  |  |  | 120000
| 5 | Pk Lot |  | Add security bollards 1) traffic control 2) protect vehicle charging stations |  |  |  | 10000
|  |  |  | TOTAL LANEY: | 1415350 | 1042300 | 755700 | 130000